## Sheet1
APPLIANCE TESTING COMPACT CERTIFICATE
Client Details | [5 empty] | Cert No: 20190704
Eclipse Mobile Disco 1a The Downsway Fareham Hampshire PO16 8NU 02392349359 07812644447 | [5 empty] | Equipsafe 1a The Downsway Fareham Hampshire PO16 8NU 02392349359 07812644447
Tester : Mr C Rouse
Position: Test Engineer
Item No |  | Description |  |  | Location |  | Test Result
1 | 110 TRANSFORMER | 4 GANG EXT REEL | ELECTRIC FIRE | ELECTRIC FIRE | Workshop |  | Pass | Pass
2 | 110 ANGLE GRINDER | 2 GANG EXT REEL | FAN HEATER | FAN HEATER | Workshop |  | Pass | Pass
3 | 2 GANG EXT LEAD | 4 GANG 8M EXT REEL | DESK FAN | DESK FAN | Workshop |  | Pass | Pass
4 |  | 4 GANG 8M EXT REEL |  |  | Workshop |  |  | Pass
5 |  | 4 GANG ANTI SURGE |  |  | Workshop |  |  | Pass
6 |  | 4 GANG ANTI SURGE |  |  | Workshop |  |  | Pass
7 |  | 4 GANG ANTI SURGE |  |  | Workshop |  |  | Pass
8 |  | 4 GANG ANTI SURGE |  |  | Workshop |  |  | Pass
9 |  | 6 GANG ANTI SURGE |  |  | Workshop |  |  | Pass
10 |  | 6 GANG ANTI SURGE |  |  | Workshop |  |  | Pass
11 |  | 4 GANG EXT REEL |  |  | Workshop |  |  | Pass
12 |  | 4 GANG EXT REEL |  |  | Workshop |  |  | Pass
13 |  | RADIO MIKE PWR SUP |  |  | Workshop |  |  | Pass
14 |  | SURE RADIO MIKE |  |  |  | Workshop |  | Pass
15 |  | Speaker Power Lead Short |  |  |  | Workshop |  | Pass
16 |  | Speaker Power Lead Short |  |  |  | Workshop |  | Pass
17 |  | Speaker Power Lead Long |  |  |  | Workshop |  | Pass
18 |  | Speaker Power Lead Long |  |  |  | Workshop |  | Pass
19 |  | IEC LEAD |  |  |  | Workshop |  | Pass
20 |  | IEC LEAD |  |  |  | Workshop |  | Pass
21 |  | CLIP ON FAN |  |  |  | Workshop |  | Pass
22 |  | KAM Stratosphere Ghost IEC Lead |  |  |  | Workshop |  | Pass
23 |  | KAM Stratosphere Ghost |  |  |  | Workshop |  | Pass
24 |  | KAM Stratosphere Ghost IEC Lead |  |  |  | Workshop |  | Pass
25 |  | KAM Stratosphere Ghost |  |  |  | Workshop |  | Pass
26 |  | Chauvet Swarm SFX Light |  |  |  | Workshop |  | Pass
27 |  | Ikon Profile Gobo Light |  |  |  | Workshop |  | Pass
28 |  | Equinox Crossfire XP Light |  |  |  | Workshop |  | Pass
29 |  | Kam Gobo Star Light |  |  |  | Workshop |  | Pass
30 |  | Equinox Fusion Scan Max |  |  |  | Workshop |  | Pass
31 |  | Equinox Fusion Roller Max |  |  |  | Workshop |  | Pass
32 |  | Equinox Fusion Roller Max |  |  |  | Workshop |  | Pass
33 |  | Equinox Fusion Scan Max |  |  |  | Workshop |  | Pass
34 |  | AJD Ultrabar 9 |  |  |  | Workshop |  | Pass
35 |  | Yamaha Nexo DXR12 Speaker |  |  |  | Workshop |  | Pass
36 |  | Yamaha Nexo DXR12 Speaker |  |  |  | Workshop |  | Pass
37 |  | Yamaha Nexo DXS15 Speaker |  |  |  | Workshop |  | Pass
38 |  | Yamaha Nexo DXS15 Speaker |  |  |  | Workshop |  | Pass
39 |  | Top Bar IEC Lead |  |  |  | Workshop |  | Pass
40 |  | AJD Mega Bar |  |  |  | Workshop |  | Pass
41 |  | Top Bar IEC Lead |  |  |  | Workshop |  | Pass
42 |  | Top Bar IEC Lead |  |  |  | Workshop |  | Pass
43 |  | Top Bar IEC Lead |  |  |  | Workshop |  | Pass
44 |  | Top Bar IEC Lead |  |  |  | Workshop |  | Pass
45 |  | Top Bar IEC Lead |  |  |  | Workshop |  | Pass
46 |  | Lighting Controller Power Supply |  |  |  | Workshop |  | Pass
47 |  | Lighting Controller |  |  |  | Workshop |  | Pass
48 |  | Podium Uplighter IEC Lead |  |  |  | Workshop |  | Pass
49 |  | Podium Uplighter |  |  |  | Workshop |  | Pass
50 |  | Podium Uplighter IEC Lead |  |  |  | Workshop |  | Pass
51 |  | Podium Uplighter |  |  |  | Workshop |  | Pass
52 |  | Denon MC6000MK2 Power Supply |  |  |  | Workshop |  | Pass
53 |  | Denon MC6000MK2 |  |  |  | Workshop |  | Pass
54 |  | Denon MC4000 Power Supply |  |  |  | Workshop |  | Pass
55 |  | Denon MC4000 |  |  |  | Workshop |  | Pass
56 |  | Behringer Ultrawave B300 Speaker |  |  |  | Workshop |  | Pass
57 |  | Behringer Ultrawave B300 Speaker |  |  |  | Workshop |  | Pass
58 |  | Laptop Power Supply |  |  |  | Workshop |  | Pass
59 |  | Acer Aspire VN 7592G Laptop |  |  |  | Workshop |  | Pass
60 |  | Laptop Power Supply |  |  |  | Workshop |  | Pass
61 |  | Acer Aspire VN 7592G Laptop |  |  |  | Workshop |  | Pass
62 |  | 6 GANG ANTI SURGE Show Box |  |  |  | Workshop |  | Pass
63 |  | 4 GANG ANTI SURGE Show Box |  |  |  | Workshop |  | Pass
64 |  | Kam Gobo Star Light |  |  |  | Workshop |  | Pass
65 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
66 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
67 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
68 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
69 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
70 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
71 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
72 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
73 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
74 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
75 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
76 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
77 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
78 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
79 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
80 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
81 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
82 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
83 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
84 |  | ADJ 5P HEX UPLIGHTER |  |  |  | Workshop |  | Pass
85 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
86 |  | Uplighter IEC Lead |  |  |  | Workshop |  | Pass
87 |  | Uplighter IEC Ext Lead |  |  |  | Workshop |  | Pass
88 |  | Uplighter IEC Ext Lead |  |  |  | Workshop |  | Pass
89 |  | Uplighter IEC Ext Lead |  |  |  | Workshop |  | Pass
90 |  | Uplighter IEC Ext Lead |  |  |  | Workshop |  | Pass
91 |  | Uplighter IEC Ext Lead |  |  |  | Workshop |  | Pass
92 |  | KAM RADIO MIKE PWR SUP |  |  |  | Workshop |  | Pass
93 |  | KAM RADIO MIKE RECEIVER |  |  |  | Workshop |  | Pass
94 |  | 4 GANG ANTI SURGE |  |  |  | Workshop |  | Pass
95 |  | 4 GANG ANTI SURGE |  |  |  | Workshop |  | Pass
96 |  | iPad Power Cable |  |  |  | Workshop |  | Pass
97 |  | iPad |  |  |  | Workshop |  | Pass
98 |  | Monitor Power Supply |  |  |  | Workshop |  | Pass
99 |  | Monitor |  |  |  | Workshop |  | Pass
100 |  | Monitor Power Supply |  |  |  | Workshop |  | Pass
101 |  | Curved Monoitor |  |  |  | Workshop |  | Pass
102 |  | Equinox Moving Head |  |  |  | Workshop |  | Pass
103 |  | Power Cable |  |  |  | Workshop |  | Pass
104 |  | Equinox Moving Head |  |  |  | Workshop |  | Pass
105 |  | Power Cable |  |  |  | Workshop |  | Pass
106 |  | Maui 11 G3 Array Speaker |  |  |  | Workshop |  | Pass
107 |  | Maui 11 G3 Array Speaker |  |  |  | Workshop |  | Pass
|  | Test Date | 11th July 2013 |  |  | 7th July 2023
|  | Retest Date | 11th July 2014 |  |  | 7th July 2024
Signed